Please Return to : sales@zeeco.com Tel : +1-918-258-8551

VRU – Redesign Data Form

DATE :

PROJECT REFERENCE NUMBER :

CUSTOMER :

END USER:

JOBSITE LOCATION :    		                                                                                                                                            REQUIRED DATE OF QUOTE :

ANTICIPATED DATE OF AWARD :    		                                                                                                                       REQUIRED SHIP DATE / DELIVERY TIME :

- Existing System Information

Manufacturer:

Date Built (Look on vessel code stamps) :

Model Number :

Carbon Bed Size :

Absorber Column Size :

Absorber Column Inlet Flow :

Amount of Carbon if known:

Carbon Age and Type:

Vacuum Pump Model:

Vacuum Pump Motor Size :

Vacuum Pump RPM and Drive Type :

Supply Pump Model and Motor :

Return Pump Model and Motor :

Inlet Valve Size :

Vent Valve Size:

Regen Valve Size:

Seal Fluid Pump Model and Motor :

Seal Fluid flow rate :

Heat Exchanger Model :

Back Pressure Control Valve Info:

Temperature Control Setup:

Current PLC Platform and Age :

- PRODUCT DATA

Absorbant Tank Size :

Products : ie Gasoline / Diesel:

Reid Vapour Pressure : (Please provide for each product):

Product Temperatures: (Please provide for each product).

Summer Max / Summer Ave / Winter Max:

Vapour Concentration (if known) :	Design / Max /Norm :

- VRU Emissions Original Design:

VRU Emissions Requirement:

# Loading Rack Information.

Number of Loading Spots connected to the vapour recovery manifold (ie number of trucks that can be loaded simultaneously) :

Number of Loading Arms per loading Spot that can be connected to a truck simultaneously):

# Filling Rates

Maximum Fill Rate Per Loading Arm. :

Maximum loading pump rate, per pump per product :

For example : Gasoline and Diesel can be loaded on the gantry. There are two pumps supplying gasoline to the gantry and one pump for diesel. What is the pumping rate for each pump/product.

# Loading Profile

Original Loading Profile as listed in VRU Manual

|  | Loading Profile Parameter | Product 1 (ie Gasoline) | Product 2 | Product 3 | Totals |
| --- | --- | --- | --- | --- | --- |
| 1 | Product |  |  |  |  |
| 2 | Max Instantaneous Flow Qi (ie m3/min) |  |  |  |  |
| 3 | Max Volume Loaded in 15 mins; Q15 |  |  |  |  |
| 4 | Max Volume loaded in 1 hour |  |  |  |  |
| 5 | Max Volume loaded in 4 hours |  |  |  |  |
| 6 | Max Volume loaded daily |  |  |  |  |

Requested New Loading Profile.

|  | Loading Profile Parameter | Product 1 (ie Gasoline) | Product 2 | Product 3 | Totals |
| --- | --- | --- | --- | --- | --- |
| 1 | Product |  |  |  |  |
| 2 | Max Instantaneous Flow Qi (ie m3/min) |  |  |  |  |
| 3 | Max Volume Loaded in 15 mins; Q15 |  |  |  |  |
| 4 | Max Volume loaded in 1 hour |  |  |  |  |
| 5 | Max Volume loaded in 4 hours |  |  |  |  |
| 6 | Max Volume loaded daily |  |  |  |  |

# Ambient  Conditions

Temperature : Max Summer / Ave Summer / Min Winter :

Recognised Site Design Temperatures :

Maximum Wet Bulb Temperature :

Site Location / Elevation : Coastal / Inland / Elevation above sea level :

Site Latitude :

Site Wind Design Code / Wind Speed

Site Seismic Design Code / Parameters

# Available Utilities

Electricity :

Power: 	V	Phase 	Hz Control: 		V		Phase 		Hz

Instrument Air (Yes/No) : 			 Min Pressure:  	 Max Pressure:

Hazardous Area Classification (ie, Class 1, Div 2, Group D) :